## Quorum
Anzahl zu beschaffende Systeme | 10x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026_05_08_Quorum_Backup_Neu_V3
Hints:
System: | PY RX2530 M8 8x 2.5_Quorum
Product no. | Name | Quantity
PYR2538R2N | PY RX2530 M8 8x 2.5 | 1
Rack server 19" (1U), Base unit with systemboard D4134 for up to 2x Xeon processors and 32x DDR5 DIMM slots; iRMC S6 onboard server management incl. graphics controller; 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45); flexible LAN Controllers with OCPv3 compliant card connections; 8 bays for hot plug 2,5" SAS/SATA drives; ServerView Suite Software Pack optional The Systemarchitekt suggests 2x 900W hot plug power supplies per default. This is optimal for most configurations (in case of doubt, please check with the power calculator). Delivery in single packaging, minimum order quantity: 1 unit. Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETL39 | ErP Lot9 Configuration 2 | 1
PYBCP70X7 | Intel Xeon 6507P 8C 3.5 GHz | 1
PYBMMD2 | Independent Mode Installation | 1
PYBME32ST | 32GB (1x32GB) 2Rx8 DDR5-6400 R ECC | 4
PYBMF96PN | SSD PCIe4 960GB M.2 H-P | 2
PYBNARC01 | No HBA/RAID card option | 1
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBPREM06 | M.2 Carrier Module (Slot 2) | 1
PYBLA274U | PLAN CP 4x1Gbit Cu Intel I350-T4 OCPV3 | 1
PYBLA402L | PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP | 1
PYBRA06 | Rack Cable Management Arm 1U | 1
PYBRR0C | Rack Mount Kit QRL | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E180 | Cable powercord rack, 1.8m, black | 2
PYBTPM20 | TPM 2.0 Module V2 | 1
S26361-F3986-L5 | SFP+ Transceiver 10G/1G Dual Rate SR | 2
FS:UA36S63000DESG5 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Quorum
PY RX2530 M8 8x 2.5_Quorum
Hints:
PY RX2530 M8 8x 2.5
Rack based server 19" (1U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - 1 drive bay 5.25" x 0.4" for ODD - 8 drive bays 2.5" for hot plug SAS/SATA HDD/SSDs - temperature monitoring for CPU module - systemboard for dual Xeon processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 2x OCPv3 for LAN controllers * 4 slots PCIe Gen5 low profile ( 2 slots default (PCIe x16), 2 slots optional) - optional rack mounting kit
ErP Lot9 Configuration 2
Please refer to the configurator for limitations
Intel Xeon 6507P 8C 3.5 GHz
Occupies CPU-slot.
Independent Mode Installation
No specific memory RAS features are defined
32GB (1x32GB) 2Rx8 DDR5-6400 R ECC
Please note: contrary to the general RDIMM population rule with Xeon 6 CPUs (minimum 4 DIMM per CPU), this RDIMM type can be configured with just 1 DIMM per CPU
SSD PCIe4 960GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
No HBA/RAID card option
No HBA/RAID card option for diskless configuration.
Intel VROC Upgrade Key Premium
M.2 Carrier Module (Slot 2)
For M.2 installation, this option is required.
PLAN CP 4x1Gbit Cu Intel I350-T4 OCPV3
This adapter requires a OCPV3 Pull Tab slot. The controller supports to the RJ45 connectivity. - Up to 100 meters using twisted-pair copper cabling: CAT3 or higher for 10BASE-T operation CAT5 or higher for 100BASE-TX operation CAT5e or higher for 1000BASE-T operation
PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a x8 PCIe slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
Rack Cable Management Arm 1U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required.
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 1.8m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 1.8m
TPM 2.0 Module V2
Be aware of import restrictions!
SFP+ Transceiver 10G/1G Dual Rate SR
Placable into Fujitsu PLAN EP X710-DA4, PLAN EP X710-DA2, D2755 Ethernet adapter cards and SFP+ DynamicLoM interface cards for PRIMERGY M4 generation. Usable for optical 10Gb/1Gb Ethernet connections with LC plugs. Usable fiber optic cables: - OM4 (Multi-Mode 50/125?m, 4700 MHz*km) 400m - OM3 (Multi-Mode 50/125?m, 2000 MHz*km) 300m - OM2 (Multi-Mode 50/125?m, 500 MHz*km) 82m - OM1 (Multi-Mode 62,5/125?m, 200 MHz*km) 33m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for PRIMERGY RX200 S4, PRIMERGY RX200 S4, PRIMERGY RX200 S5, PRIMERGY RX200 S6, PRIMERGY RX200 S6, PRIMERGY RX200 S7, PRIMERGY RX200 S7, PRIMERGY RX200 S8, PRIMERGY RX200 S8, PRIMERGY RX2530 M1, PRIMERGY RX2530 M1, PRIMERGY RX2530 M1-L, PRIMERGY RX2530 M1-L, PRIMERGY RX2530 M2, PRIMERGY RX2530 M2, PRIMERGY RX2530 M2-L, PRIMERGY RX2530 M2-L, PRIMERGY RX2530 M4, PRIMERGY RX2530 M4, PRIMERGY RX2530 M5, PRIMERGY RX2530 M5, PRIMERGY RX2530 M5, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6S, PRIMERGY RX2530 M6S, PRIMERGY RX2530 M7, PRIMERGY RX2530 M7, PRIMERGY RX2530 M7S, PRIMERGY RX2530 M7S, PRIMERGY RX2530 M8, PRIMERGY RX2530 M8, PY RX2530 M4 Pre Configuration

## Backup_Repro_Kopf
Anzahl zu beschaffende Systeme | 6x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026_05_08_Quorum_Backup_Neu_V3
Hints:
System: | PY RX2530 M8 8x 2.5
Product no. | Name | Quantity
PYR2538R2N | PY RX2530 M8 8x 2.5 | 1
Rack server 19" (1U), Base unit with systemboard D4134 for up to 2x Xeon processors and 32x DDR5 DIMM slots; iRMC S6 onboard server management incl. graphics controller; 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45); flexible LAN Controllers with OCPv3 compliant card connections; 8 bays for hot plug 2,5" SAS/SATA drives; ServerView Suite Software Pack optional The Systemarchitekt suggests 2x 900W hot plug power supplies per default. This is optimal for most configurations (in case of doubt, please check with the power calculator). Delivery in single packaging, minimum order quantity: 1 unit. Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETL40 | ErP Lot9 Configuration 3 | 1
PYBCP70X7 | Intel Xeon 6507P 8C 3.5 GHz | 1
PYBMMD2 | Independent Mode Installation | 1
PYBME16ST | 16GB (1x16GB) 1Rx8 DDR5-6400 R ECC | 4
PYBMF96PN | SSD PCIe4 960GB M.2 H-P | 2
PYBNARC01 | No HBA/RAID card option | 1
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBSC4FAEL | PSAS CP600e LP | 1
PYBPREM06 | M.2 Carrier Module (Slot 2) | 1
PYBPRE862 | Riser w/cable kit for PCIe x8 (Slot 3) | 1
PYBLA402U | PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3 | 1
PYBRA06 | Rack Cable Management Arm 1U | 1
PYBRR0C | Rack Mount Kit QRL | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E180 | Cable powercord rack, 1.8m, black | 2
PYBTPM20 | TPM 2.0 Module V2 | 1
S26361-F3986-L5 | SFP+ Transceiver 10G/1G Dual Rate SR | 2
FS:UA36S63000DESG5 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Backup_Repro_Kopf
PY RX2530 M8 8x 2.5
Hints:
PY RX2530 M8 8x 2.5
Rack based server 19" (1U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - 1 drive bay 5.25" x 0.4" for ODD - 8 drive bays 2.5" for hot plug SAS/SATA HDD/SSDs - temperature monitoring for CPU module - systemboard for dual Xeon processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 2x OCPv3 for LAN controllers * 4 slots PCIe Gen5 low profile ( 2 slots default (PCIe x16), 2 slots optional) - optional rack mounting kit
ErP Lot9 Configuration 3
Please refer to the configurator for limitations
Intel Xeon 6507P 8C 3.5 GHz
Occupies CPU-slot.
Independent Mode Installation
No specific memory RAS features are defined
16GB (1x16GB) 1Rx8 DDR5-6400 R ECC
Please note: contrary to the general RDIMM population rule with Xeon 6 CPUs (minimum 4 DIMM per CPU), this RDIMM type can be configured with just 1 DIMM per CPU
SSD PCIe4 960GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
No HBA/RAID card option
No HBA/RAID card option for diskless configuration.
Intel VROC Upgrade Key Premium
PSAS CP600e LP
- PCIe 4.0 x8, 16GT/s per lane - 16-port 12Gb/s SAS3 and 6Gb/s SATA3 interface - 4x SFF8644 (Mini-SAS HD) - requires one LP PCIe slot
M.2 Carrier Module (Slot 2)
For M.2 installation, this option is required.
Riser w/cable kit for PCIe x8 (Slot 3)
PCIe riser card for 1CPU configuration
PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a OCPV3 Pull Tab slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
Rack Cable Management Arm 1U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required.
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 1.8m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 1.8m
TPM 2.0 Module V2
Be aware of import restrictions!
SFP+ Transceiver 10G/1G Dual Rate SR
Placable into Fujitsu PLAN EP X710-DA4, PLAN EP X710-DA2, D2755 Ethernet adapter cards and SFP+ DynamicLoM interface cards for PRIMERGY M4 generation. Usable for optical 10Gb/1Gb Ethernet connections with LC plugs. Usable fiber optic cables: - OM4 (Multi-Mode 50/125?m, 4700 MHz*km) 400m - OM3 (Multi-Mode 50/125?m, 2000 MHz*km) 300m - OM2 (Multi-Mode 50/125?m, 500 MHz*km) 82m - OM1 (Multi-Mode 62,5/125?m, 200 MHz*km) 33m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for PRIMERGY RX200 S4, PRIMERGY RX200 S4, PRIMERGY RX200 S5, PRIMERGY RX200 S6, PRIMERGY RX200 S6, PRIMERGY RX200 S7, PRIMERGY RX200 S7, PRIMERGY RX200 S8, PRIMERGY RX200 S8, PRIMERGY RX2530 M1, PRIMERGY RX2530 M1, PRIMERGY RX2530 M1-L, PRIMERGY RX2530 M1-L, PRIMERGY RX2530 M2, PRIMERGY RX2530 M2, PRIMERGY RX2530 M2-L, PRIMERGY RX2530 M2-L, PRIMERGY RX2530 M4, PRIMERGY RX2530 M4, PRIMERGY RX2530 M5, PRIMERGY RX2530 M5, PRIMERGY RX2530 M5, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6, PRIMERGY RX2530 M6S, PRIMERGY RX2530 M6S, PRIMERGY RX2530 M7, PRIMERGY RX2530 M7, PRIMERGY RX2530 M7S, PRIMERGY RX2530 M7S, PRIMERGY RX2530 M8, PRIMERGY RX2530 M8, PY RX2530 M4 Pre Configuration