## Host_Basis
Anzahl zu beschaffende Systeme | 2x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026-05-08 Host_Neu-V3
Hints:
System: | PY RX2540 M8 8x 2.5'_1_Host_Basis
Product no. | Name | Quantity
PYR2548R2N | PY RX2540 M8 8x 2.5' | 1
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module, 3x2 hot plug fans redundant; RMK optional; dual systemboard for Xeon processor and 32 slots for registered DDR5 ECC RAM; iRMC S6 onboard server management incl. graphics controller and 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45), flexible LAN Controllers with OCPv3 compliant card connections; 8 drive bays for hot plug 2.5" SAS/SATA/PCIe-SSD drives; ServerView Suite Software Pack option Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETL42 | ErP Lot9 Configuration 2 | 1
PYBCP70X1 | Intel Xeon 6505P 12C 2.2 GHz | 2
S26361-F3849-E100 | Cooler Kit 2nd CPU | 1
PYBMMD2 | Independent Mode Installation | 2
PYBME16ST | 16GB (1x16GB) 1Rx8 DDR5-6400 R ECC | 8
PYBMF96PN | SSD PCIe4 960GB M.2 H-P | 2
PYBNARC01 | No HBA/RAID card option | 1
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBSC4FAE | PSAS CP600e FH | 2
PYBPREM08 | M.2 Carrier Module | 1
PYBPRE660 | PCIe x16 HHHL x1 Riser 1U Left | 1
PYBPRE864 | PCIe x8 FHHL x1 Riser 2U Mid | 1
PYBPRE863 | PCIe x8 FHHL x2 Riser 2U Right | 1
PYBLA402U | PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3 | 1
PYBLA402 | PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe FH | 1
PYBRR0C | Rack Mount Kit QRL | 1
PYBRA05 | Rack Cable Management Arm 2U | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E250 | Cable powercord rack, 2.5m, black | 2
S26361-F3986-L5 | SFP+ Transceiver 10G/1G Dual Rate SR | 4
FS:UA36S63000DESG6 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Host_Basis
PY RX2540 M8 8x 2.5'_1_Host_Basis
Hints:
PY RX2540 M8 8x 2.5'
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - 1 drive bay 5.25" x 0.4" for ODD - 8 drive bays 2.5" for hot plug SAS/SATA HD/SSDs, PCIe-SSDs IMPORTANT: one SAS/RAID Controller necessary for SAS/SATA HD/SSDs configuration. - temperature monitoring for CPU module - dual systemboard for Xeon processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 1x OCPv3 for LAN controllers * no onboard SATA controller * 1 slot PCIe Gen5 x16 low profile as default configuration PCIe riser card options can expand number of slots (max. 8 slots in total) - optional rack mounting kit
ErP Lot9 Configuration 2
Please refer to the configurator for limitations
Intel Xeon 6505P 12C 2.2 GHz
Occupies CPU-slot.
Cooler Kit 2nd CPU
Cooler kit is necessary if second CPU is required
Independent Mode Installation
No specific memory RAS features are defined
16GB (1x16GB) 1Rx8 DDR5-6400 R ECC
Please note: contrary to the general RDIMM population rule with Xeon 6 CPUs (minimum 4 DIMM per CPU), this RDIMM type can be configured with just 1 DIMM per CPU
SSD PCIe4 960GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
No HBA/RAID card option
No HBA/RAID card option for diskless configuration.
Intel VROC Upgrade Key Premium
PSAS CP600e FH
- PCIe 4.0 x8, 16GT/s per lane - 16-port 12Gb/s SAS3 and 6Gb/s SATA3 interface - 4x SFF8644 (Mini-SAS HD) - requires one FH PCIe slot
M.2 Carrier Module
PCIe x16 HHHL x1 Riser 1U Left
PCIe riser card
PCIe x8 FHHL x1 Riser 2U Mid
PCIe riser card
PCIe x8 FHHL x2 Riser 2U Right
PCIe riser card
PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a OCPV3 Pull Tab slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe FH
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- The 25GbE adapter requires a x8 PCIe slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Rack Cable Management Arm 2U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required. CMA manages limited number of cables. The number of cables depends on the cable thickness. Please check if the cables can be accommodated by CMA in advance. Spec of the CMA is written in the CMA manual. QSFP cable / KVM Switch cable cannot be supported. Here are some refference: Conf1 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x20 /Ethernet cable x17 Conf2 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x16 /Ethernet cable x21
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 2.5m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 2.5m
SFP+ Transceiver 10G/1G Dual Rate SR
Placable into Fujitsu PLAN EP X710-DA4, PLAN EP X710-DA2, D2755 Ethernet adapter cards and SFP+ DynamicLoM interface cards for PRIMERGY M4 generation. Usable for optical 10Gb/1Gb Ethernet connections with LC plugs. Usable fiber optic cables: - OM4 (Multi-Mode 50/125?m, 4700 MHz*km) 400m - OM3 (Multi-Mode 50/125?m, 2000 MHz*km) 300m - OM2 (Multi-Mode 50/125?m, 500 MHz*km) 82m - OM1 (Multi-Mode 62,5/125?m, 200 MHz*km) 33m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for ETERNUS CS200 S4, ETERNUS CS200c S3 SERVER HW, ETERNUS CS200c S3 SERVER LIC, PRIMERGY RX2520 M1, PRIMERGY RX2520 M1, Primergy RX2520 M4, Primergy RX2520 M4, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M4, PRIMERGY RX2540 M4, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5 PF4MAS, PRIMERGY RX2540 M6, PRIMERGY RX2540 M6, PRIMERGY RX2540 M7, PRIMERGY RX2540 M7, PRIMERGY RX2540 M8, PRIMERGY RX2540 M8, PRIMERGY RX300 S3 3.5, PRIMERGY RX300 S4 12x 2,5´´, PRIMERGY RX300 S4 12x2.5, PRIMERGY RX300 S4 6x 2,5´´, PRIMERGY RX300 S4 6x 3,5´´, PRIMERGY RX300 S4 6x2.5, PRIMERGY RX300 S4 6x3.5, PRIMERGY RX300 S5 12x2.5, PRIMERGY RX300 S5 6x3.5, PRIMERGY RX300 S5 8x2.5, PRIMERGY RX300 S6, PRIMERGY RX300 S6, PRIMERGY RX300 S7, PRIMERGY RX300 S7, PRIMERGY RX300 S8, PRIMERGY RX300 S8

## Host_Neu
Anzahl zu beschaffende Systeme | 50x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026-05-08 Host_Neu-V3
Hints:
System: | PY RX2540 M8 24x 2.5' NVMe_Host_Neu
Product no. | Name | Quantity
PYR2548RCN | PY RX2540 M8 24x 2.5' NVMe | 1
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module, 3x2 hot plug fans redundant; RMK optional; dual systemboard for Xeon processor and 32 slots for registered DDR5 ECC RAM; iRMC S6 onboard server management incl. graphics controller and 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45), flexible LAN Controllers with OCPv3 compliant card connections, ; 24 drive bays for hot plug 2.5" PCIe SSD devices; ServerView Suite Software Pack option Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETL43 | ErP Lot9 Configuration 3 | 1
PYBCP70X9 | Intel Xeon 6527P 24C 3.0 GHz | 2
S26361-F3849-E100 | Cooler Kit 2nd CPU | 1
PYBMMD2 | Independent Mode Installation | 2
PYBME64ST | 64GB (1x64GB) 2Rx4 DDR5-6400 R ECC | 16
PYBBS38PEE | SSD PCIe5 3.84TB RI 2.5' H-P | 9
PYBMF48PN | SSD PCIe4 480GB M.2 H-P | 2
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBPREM08 | M.2 Carrier Module | 1
PYBPRE661 | PCIe x16 FHHL x1 Riser 2U Right | 1
PYBPRE660 | PCIe x16 HHHL x1 Riser 1U Left | 1
PYBPRE864 | PCIe x8 FHHL x1 Riser 2U Mid | 1
PYBLA402U | PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3 | 1
S26361-F4610-E204 | PLAN CP 4x1Gbit Cu Intel I350-T4 LP | 1
PYBLA402L | PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP | 1
S26361-F4055-E701 | SFP28 Transceiver 25G SR LC 850nm | 4
PYBRR0C | Rack Mount Kit QRL | 1
PYBRA05 | Rack Cable Management Arm 2U | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E250 | Cable powercord rack, 2.5m, black | 2
FS:UA36S63000DESG6 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Host_Neu
PY RX2540 M8 24x 2.5' NVMe_Host_Neu
Hints:
PY RX2540 M8 24x 2.5' NVMe
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - NO drive bay 5.25" x 0.4" for ODD - 24 bays for hot plug 2.5" PCIe SSDs - temperature monitoring for CPU module - dual systemboard for Xeon DP processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 1x OCPv3 for LAN controllers * 1 slot PCIe Gen5 x16 low profile as default configuration PCIe riser card options can expand number of slots (max. 8 slots in total) - optional rack mounting kit
ErP Lot9 Configuration 3
Please refer to the configurator for limitations
Intel Xeon 6527P 24C 3.0 GHz
Occupies CPU-slot.
Cooler Kit 2nd CPU
Cooler kit is necessary if second CPU is required
Independent Mode Installation
No specific memory RAS features are defined
64GB (1x64GB) 2Rx4 DDR5-6400 R ECC
SSD PCIe5 3.84TB RI 2.5' H-P
Occupies a hot-replace 2.5-inch drive bay
SSD PCIe4 480GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
Intel VROC Upgrade Key Premium
M.2 Carrier Module
PCIe x16 FHHL x1 Riser 2U Right
PCIe riser card
PCIe x16 HHHL x1 Riser 1U Left
PCIe riser card
PCIe x8 FHHL x1 Riser 2U Mid
PCIe riser card
PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a OCPV3 Pull Tab slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
PLAN CP 4x1Gbit Cu Intel I350-T4 LP
Occupies one PCIe x4 slot With low profile bracket mounted
PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a x8 PCIe slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
SFP28 Transceiver 25G SR LC 850nm
Pluggable into 25G Ethernet cards. Usable for 25/10GBASE-SR connection with LC-LC connectors
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Rack Cable Management Arm 2U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required. CMA manages limited number of cables. The number of cables depends on the cable thickness. Please check if the cables can be accommodated by CMA in advance. Spec of the CMA is written in the CMA manual. QSFP cable / KVM Switch cable cannot be supported. Here are some refference: Conf1 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x20 /Ethernet cable x17 Conf2 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x16 /Ethernet cable x21
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 2.5m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 2.5m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for ETERNUS CS200 S4, ETERNUS CS200c S3 SERVER HW, ETERNUS CS200c S3 SERVER LIC, PRIMERGY RX2520 M1, PRIMERGY RX2520 M1, Primergy RX2520 M4, Primergy RX2520 M4, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M4, PRIMERGY RX2540 M4, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5 PF4MAS, PRIMERGY RX2540 M6, PRIMERGY RX2540 M6, PRIMERGY RX2540 M7, PRIMERGY RX2540 M7, PRIMERGY RX2540 M8, PRIMERGY RX2540 M8, PRIMERGY RX300 S3 3.5, PRIMERGY RX300 S4 12x 2,5´´, PRIMERGY RX300 S4 12x2.5, PRIMERGY RX300 S4 6x 2,5´´, PRIMERGY RX300 S4 6x 3,5´´, PRIMERGY RX300 S4 6x2.5, PRIMERGY RX300 S4 6x3.5, PRIMERGY RX300 S5 12x2.5, PRIMERGY RX300 S5 6x3.5, PRIMERGY RX300 S5 8x2.5, PRIMERGY RX300 S6, PRIMERGY RX300 S6, PRIMERGY RX300 S7, PRIMERGY RX300 S7, PRIMERGY RX300 S8, PRIMERGY RX300 S8

## Host_16
Anzahl zu beschaffende Systeme | 1x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026-05-08 Host_Neu-V3
Hints:
System: | PY RX2540 M8 24x 2.5' NVMe_Host_16
Product no. | Name | Quantity
PYR2548RCN | PY RX2540 M8 24x 2.5' NVMe | 1
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module, 3x2 hot plug fans redundant; RMK optional; dual systemboard for Xeon processor and 32 slots for registered DDR5 ECC RAM; iRMC S6 onboard server management incl. graphics controller and 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45), flexible LAN Controllers with OCPv3 compliant card connections, ; 24 drive bays for hot plug 2.5" PCIe SSD devices; ServerView Suite Software Pack option Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETA6 | Configuration Thermal Design 30°C | 1
PYBETL43 | ErP Lot9 Configuration 3 | 1
PYBCP70X8 | Intel Xeon 6517P 16C 3.2 GHz | 2
S26361-F3849-E100 | Cooler Kit 2nd CPU | 1
PYBMMD2 | Independent Mode Installation | 2
PYBME64ST | 64GB (1x64GB) 2Rx4 DDR5-6400 R ECC | 16
PYBBS38PEE | SSD PCIe5 3.84TB RI 2.5' H-P | 9
PYBMF48PN | SSD PCIe4 480GB M.2 H-P | 2
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBPREM08 | M.2 Carrier Module | 1
PYBPRE661 | PCIe x16 FHHL x1 Riser 2U Right | 1
PYBPRE660 | PCIe x16 HHHL x1 Riser 1U Left | 1
PYBLA402U | PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3 | 1
S26361-F4610-E204 | PLAN CP 4x1Gbit Cu Intel I350-T4 LP | 1
PYBLA402L | PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP | 1
S26361-F4055-E701 | SFP28 Transceiver 25G SR LC 850nm | 4
PYBRR0C | Rack Mount Kit QRL | 1
PYBRA05 | Rack Cable Management Arm 2U | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E250 | Cable powercord rack, 2.5m, black | 2
FS:UA36S63000DESG6 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Host_16
PY RX2540 M8 24x 2.5' NVMe_Host_16
Hints:
PY RX2540 M8 24x 2.5' NVMe
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - NO drive bay 5.25" x 0.4" for ODD - 24 bays for hot plug 2.5" PCIe SSDs - temperature monitoring for CPU module - dual systemboard for Xeon DP processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 1x OCPv3 for LAN controllers * 1 slot PCIe Gen5 x16 low profile as default configuration PCIe riser card options can expand number of slots (max. 8 slots in total) - optional rack mounting kit
Configuration Thermal Design 30°C
ErP Lot9 Configuration 3
Please refer to the configurator for limitations
Intel Xeon 6517P 16C 3.2 GHz
Occupies CPU-slot.
Cooler Kit 2nd CPU
Cooler kit is necessary if second CPU is required
Independent Mode Installation
No specific memory RAS features are defined
64GB (1x64GB) 2Rx4 DDR5-6400 R ECC
SSD PCIe5 3.84TB RI 2.5' H-P
Occupies a hot-replace 2.5-inch drive bay
SSD PCIe4 480GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
Intel VROC Upgrade Key Premium
M.2 Carrier Module
PCIe x16 FHHL x1 Riser 2U Right
PCIe riser card
PCIe x16 HHHL x1 Riser 1U Left
PCIe riser card
PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a OCPV3 Pull Tab slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
PLAN CP 4x1Gbit Cu Intel I350-T4 LP
Occupies one PCIe x4 slot With low profile bracket mounted
PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a x8 PCIe slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
SFP28 Transceiver 25G SR LC 850nm
Pluggable into 25G Ethernet cards. Usable for 25/10GBASE-SR connection with LC-LC connectors
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Rack Cable Management Arm 2U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required. CMA manages limited number of cables. The number of cables depends on the cable thickness. Please check if the cables can be accommodated by CMA in advance. Spec of the CMA is written in the CMA manual. QSFP cable / KVM Switch cable cannot be supported. Here are some refference: Conf1 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x20 /Ethernet cable x17 Conf2 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x16 /Ethernet cable x21
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 2.5m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 2.5m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for ETERNUS CS200 S4, ETERNUS CS200c S3 SERVER HW, ETERNUS CS200c S3 SERVER LIC, PRIMERGY RX2520 M1, PRIMERGY RX2520 M1, Primergy RX2520 M4, Primergy RX2520 M4, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M4, PRIMERGY RX2540 M4, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5 PF4MAS, PRIMERGY RX2540 M6, PRIMERGY RX2540 M6, PRIMERGY RX2540 M7, PRIMERGY RX2540 M7, PRIMERGY RX2540 M8, PRIMERGY RX2540 M8, PRIMERGY RX300 S3 3.5, PRIMERGY RX300 S4 12x 2,5´´, PRIMERGY RX300 S4 12x2.5, PRIMERGY RX300 S4 6x 2,5´´, PRIMERGY RX300 S4 6x 3,5´´, PRIMERGY RX300 S4 6x2.5, PRIMERGY RX300 S4 6x3.5, PRIMERGY RX300 S5 12x2.5, PRIMERGY RX300 S5 6x3.5, PRIMERGY RX300 S5 8x2.5, PRIMERGY RX300 S6, PRIMERGY RX300 S6, PRIMERGY RX300 S7, PRIMERGY RX300 S7, PRIMERGY RX300 S8, PRIMERGY RX300 S8

## Host_VDI
Anzahl zu beschaffende Systeme | 10x
Product version: | 13.05.2026 (Price list: May 2026)
File: | 2026-05-08 Host_Neu-V3
Hints:
System: | PY RX2540 M8 24x 2.5' NVMe_Host_VDI_Option mit 2x L4
Product no. | Name | Quantity
PYR2548RCN | PY RX2540 M8 24x 2.5' NVMe | 1
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module, 3x2 hot plug fans redundant; RMK optional; dual systemboard for Xeon processor and 32 slots for registered DDR5 ECC RAM; iRMC S6 onboard server management incl. graphics controller and 10/100/1000MBit Service LAN port; LAN on Motherboard with 1x1Gbit/s (RJ45), flexible LAN Controllers with OCPv3 compliant card connections, ; 24 drive bays for hot plug 2.5" PCIe SSD devices; ServerView Suite Software Pack option Standard warranty: 36 Months On-Site Service None FTS wide / FTS 5 days / 9 hours (9x5, local business hours)
PYBETA6 | Configuration Thermal Design 30°C | 1
PYBETL43 | ErP Lot9 Configuration 3 | 1
PYBCP70X9 | Intel Xeon 6527P 24C 3.0 GHz | 2
S26361-F3849-E100 | Cooler Kit 2nd CPU | 1
PYBMMD2 | Independent Mode Installation | 2
PYBME64ST | 64GB (1x64GB) 2Rx4 DDR5-6400 R ECC | 16
PYBVG4L1 | NVIDIA L4, Full Height, PCIe 4.0 x16 | 2
PYBBS38PEE | SSD PCIe5 3.84TB RI 2.5' H-P | 4
PYBMF48PN | SSD PCIe4 480GB M.2 H-P | 2
PYBRLVR02 | Intel VROC Upgrade Key Premium | 1
PYBPREM08 | M.2 Carrier Module | 1
PYBPRE662 | PCIe x16 FHHL x1 Riser 2U Left | 1
PYBPRE661 | PCIe x16 FHHL x1 Riser 2U Right | 1
PYBPRE660 | PCIe x16 HHHL x1 Riser 1U Left | 1
PYBPRE864 | PCIe x8 FHHL x1 Riser 2U Mid | 1
PYBLA402U | PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3 | 1
S26361-F4610-E204 | PLAN CP 4x1Gbit Cu Intel I350-T4 LP | 1
PYBLA402L | PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP | 1
S26361-F4055-E701 | SFP28 Transceiver 25G SR LC 850nm | 4
PYBRR0C | Rack Mount Kit QRL | 1
PYBRA05 | Rack Cable Management Arm 2U | 1
PYBSVTR2 | Region Kit for Europe Lot9 | 1
PYBRMC44 | iRMC advanced pack | 1
PYBLCM14 | iRMCS6 eLCM Activation License preloaded | 1
PYBPU165 | Modular PSU 1600W titanium hp | 2
T26139-Y1968-E250 | Cable powercord rack, 2.5m, black | 2
FS:UA36S63000DESG6 | Tbr, U, 36M OS,24x7,4h Rt,HDD | 1
Item Price:
Number of systems: |  | 1
Total price:*
* Unable to calculate total price. Price database is incomplete or unavailable

## Info_Host_VDI
PY RX2540 M8 24x 2.5' NVMe_Host_VDI_Option mit 2x L4
Hints:
PY RX2540 M8 24x 2.5' NVMe
Rack based server 19" (2U), BU without processor and RAM, without hot plug power supply module and power cable - 2 bays for hot plug power supplies - NO drive bay 5.25" x 0.4" for ODD - 24 bays for hot plug 2.5" PCIe SSDs - temperature monitoring for CPU module - dual systemboard for Xeon DP processor with heatsink * 32 memory sockets ( 16 sockets per CPU ) * iRMC S6 onboard server management with integrated graphics controller and 10/100/1000MBit Service LAN port * LAN on Motherboard with 1x1Gbit/s (RJ45) * 1x OCPv3 for LAN controllers * 1 slot PCIe Gen5 x16 low profile as default configuration PCIe riser card options can expand number of slots (max. 8 slots in total) - optional rack mounting kit
Configuration Thermal Design 30°C
ErP Lot9 Configuration 3
Please refer to the configurator for limitations
Intel Xeon 6527P 24C 3.0 GHz
Occupies CPU-slot.
Cooler Kit 2nd CPU
Cooler kit is necessary if second CPU is required
Independent Mode Installation
No specific memory RAS features are defined
64GB (1x64GB) 2Rx4 DDR5-6400 R ECC
NVIDIA L4, Full Height, PCIe 4.0 x16
NVIDIA L4, Full Height, PCIe 4.0 x16 GPU card; for AI, DL purposes, no graphic output. VDI function is also support.
SSD PCIe5 3.84TB RI 2.5' H-P
Occupies a hot-replace 2.5-inch drive bay
SSD PCIe4 480GB M.2 H-P
Occupies 1x On-board M.2 connector. Boot drive.
Intel VROC Upgrade Key Premium
M.2 Carrier Module
PCIe x16 FHHL x1 Riser 2U Left
PCIe riser card
PCIe x16 FHHL x1 Riser 2U Right
PCIe riser card
PCIe x16 HHHL x1 Riser 1U Left
PCIe riser card
PCIe x8 FHHL x1 Riser 2U Mid
PCIe riser card
PLAN EP E810-XXVDA2 2X 25G SFP28 OCPV3
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a OCPV3 Pull Tab slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
PLAN CP 4x1Gbit Cu Intel I350-T4 LP
Occupies one PCIe x4 slot With low profile bracket mounted
PLAN EP E810-XXVDA2 2X 25G SFP28 PCIe LP
[Important]-- E810 LAN adapters has possibility to cause PSOD when using with ESXi7.0U3 with old NVM firmware. Customers who use E810 LAN adapters with ESXi7.0U3 should update firmware and drivers before using it. NVM firmware to v4.20. ESXi driver icen to 1.11.3.0, irdman to 1.4.3.0. NVM firmware tool can be downloaded from below https://support.ts.fujitsu.com/indexdownload.asp (choose appropriate server and choose OS as VMware ESXi7.0 Update 3, then choose the E810 adapter you are using) VMware drivers can be downloaded from VMware vCG webpage https://www.vmware.com/resources/compatibility/search.php?deviceCategory=io (choose "Brand Name:" as Intel and search E810 adapters you are using) -- This adapter requires a x8 PCIe slot. The controller supports to the following optical modules. (This may vary depending on the server model and thermal restrictions.) - SFP28 25G SR E25GSFP28SRX LC (PY*SFPS56) - SFP28 25G LR E25GSFP28LRX LC (PY*SFPL09) - SFP+ Optical Transceiver 10G/1G Dual Rate SR (S26361-F3986-L5) - SFP+ Optical Transceiver 10G/1G Dual Rate LR (S26361-F3986-L6) Note: All ports on this card need to install the same Parts Number of optical module. 10G SFP BTO is not available for 25G cards, please select Loose delivery parts. For connections with DAC/AOC cables the guidlines from the switch vendor must be considered. The controller supports the cables from the major switch vendors.
SFP28 Transceiver 25G SR LC 850nm
Pluggable into 25G Ethernet cards. Usable for 25/10GBASE-SR connection with LC-LC connectors
Rack Mount Kit QRL
CONFIGURATION HINTS: Rack mounting ex factory or delivery with the server. Rack mounting depth between 559 and 890 mm - standard depth: 740mm (according to EIA-310-D Standard 19”) - max. 890 mm for PRIMERGY RX server
Rack Cable Management Arm 2U
Mounting ex factory in PRIMECENTER M1 Racks. Can be universal used for PRIMECENTER- and 3rd-party racks by below condition. - Pop-out 22mm of system by Extension Bracket, Minimum distance between server chassis end and inner side of rack rear door of 200mm required. - Without the Extension Bracket, the joint bracket should be attached on CMA adapter of RMK, Minimum distance between server chassis end and inner side of rack rear door of 250mm required. CMA manages limited number of cables. The number of cables depends on the cable thickness. Please check if the cables can be accommodated by CMA in advance. Spec of the CMA is written in the CMA manual. QSFP cable / KVM Switch cable cannot be supported. Here are some refference: Conf1 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x20 /Ethernet cable x17 Conf2 : Power cord x2 /QSFP cable(40Gb?) max.2port x0 /SFP+ cable x16 /Ethernet cable x21
Region Kit for Europe Lot9
iRMC advanced pack
This order number could be used for iRMC S6 Systems.
iRMCS6 eLCM Activation License preloaded
Modular PSU 1600W titanium hp
Occupies bay for hot plug power supply Maximum output power = 1000W at 100-127 Volt input range Maximum output power = 1600W at 200-240 Volt input range
Cable powercord rack, 2.5m, black
Powercord for rackmounting, IEC 320 C14 -> C13 (10A plug), 2.5m
Tbr, U, 36M OS,24x7,4h Rt,HDD
Fsas Support, to-be-registered, up-front payment, 36 Months On-Site Service, 24x7, 4h onsite response, incl. HDD retention, valid in country of purchase for ETERNUS CS200 S4, ETERNUS CS200c S3 SERVER HW, ETERNUS CS200c S3 SERVER LIC, PRIMERGY RX2520 M1, PRIMERGY RX2520 M1, Primergy RX2520 M4, Primergy RX2520 M4, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2520 M5, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M1-L SPARE, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M2-L, PRIMERGY RX2540 M4, PRIMERGY RX2540 M4, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5, PRIMERGY RX2540 M5 PF4MAS, PRIMERGY RX2540 M6, PRIMERGY RX2540 M6, PRIMERGY RX2540 M7, PRIMERGY RX2540 M7, PRIMERGY RX2540 M8, PRIMERGY RX2540 M8, PRIMERGY RX300 S3 3.5, PRIMERGY RX300 S4 12x 2,5´´, PRIMERGY RX300 S4 12x2.5, PRIMERGY RX300 S4 6x 2,5´´, PRIMERGY RX300 S4 6x 3,5´´, PRIMERGY RX300 S4 6x2.5, PRIMERGY RX300 S4 6x3.5, PRIMERGY RX300 S5 12x2.5, PRIMERGY RX300 S5 6x3.5, PRIMERGY RX300 S5 8x2.5, PRIMERGY RX300 S6, PRIMERGY RX300 S6, PRIMERGY RX300 S7, PRIMERGY RX300 S7, PRIMERGY RX300 S8, PRIMERGY RX300 S8