## PREB BLS
Box | Invent No. | Qty | Unit | Descriptor | Expiry Date | Remarks | IFRC Catalogue Ref. No. | Descriptor (German)
|  | 1 | pcs | RESUSCITATOR, ADULT , incl. 1 valve, incl. Mask ( DIN EN ISO 10651-4) |  | Set 1, Airway | XANEREAM4A | Beatmungsbeutel für Erwachsene( DIN EN ISO 10651-4)
|  | 1 | pcs | RESUSCITATOR, Children, incl. 1 Paedi valve ( DIN EN ISO 10651-4) |  | Set 1, Airway | XANEREAM4B | Beatmungsbeutel für Erwachsene( DIN EN ISO 10651-4)
|  | 2 | pcs | BACTERIAL FILTER FOR RESUSCITATOR |  | Set 1, Airway | MCTDBRCIFHBVI | Bakterienfilter für Beatmungsbeutel
|  | 1 | pcs | RESUSCITATION Mask with valve, size S, adult and children, silicone, reus. |  | Set 1, Airway | XANEREAM1FM4 | Beatmungsmaske Erwachene, Größe S
|  | 1 | pcs | RESUSCITATION Mask with valve, size M, adult, silicone, reus. |  | Set 1, Airway | XANEREAM1FM5 | Beatmungsmaske Erwachene, Größe M
|  | 1 | pcs | RESUSCITATION Mask with valve, children, silicone, reus. |  | Set 1, Airway | XANEREAM1FM2 | Beatmungsmaske für Schulkindern
|  | 1 | pcs | RESUSCITATION Mask with valve, infant, silicone, reus. |  | Set 1, Airway | XANEREAB1FM0 | Beatmungsmaske für Kleinkinder
|  | 1 | pcs | TUBE, OROPHARYNGEAL (GUEDEL), airway, No 4, adult, autoclavable |  | Set 1, Airway | XANETGUE4 | Oropharyngealtubus/Guedeltubus Gr. 4
|  | 1 | pcs | TUBE, OROPHARYNGEAL (GUEDEL), airway, No 3, adult, autoclavable |  | Set 1, Airway | XANETGUE3 | Oropharyngealtubus/Guedeltubus Gr. 3
|  | 1 | pcs | TUBE, OROPHARYNGEAL (GUEDEL), airway, No 2, adolescent, autoclavable |  | Set 1, Airway | XANETGUE2 | Oropharyngealtubus/Guedeltubus Gr. 2
|  | 1 | pcs | TUBE, OROPHARYNGEAL (GUEDEL), airway, No 1, child, autoclavable |  | Set 1, Airway | XANETGUE1 | Oropharyngealtubus/Guedeltubus Gr. 1
|  | 5 | pcs | LUBRICATING JELLY, 5g, tube/ sachet |  | Set 1, Airway | MCTDLUBRJ4T | Gleitmittel zur Intubation, 5g Tube
|  | 1 | pcs | TUBE, NASOPHARYNGEAL (NPA), airway, FR32, 8.0mm adult |  | Set 1, Airway |  | Nasopharyngealtubus/Wendltubus größe FR32
|  | 1 | pcs | TUBE, NASOPHARYNGEAL (NPA), airway, FR28, 7.0mm adult |  | Set 1, Airway |  | Nasopharyngealtubus/Wendltubus größe FR28
|  | 1 | pcs | TUBE, NASOPHARYNGEAL (NPA), airway, FR24, 6.0mm small adult |  | Set 1, Airway |  | Nasopharyngealtubus/Wendltubus größe FR24
|  | 1 | pcs | TUBE, NASOPHARYNGEAL (NPA), airway, FR20, 5.0mm adolescent |  | Set 1, Airway |  | Nasopharyngealtubus/Wendltubus größe FR20
|  | 1 | pcs | TUBE, NASOPHARYNGEAL (NPA), airway, FR16, 4.0mm, small child |  | Set 1, Airway |  | Nasopharyngealtubus/Wendltubus größe FR16
|  | 1 | pcs | SPLINTER FORCEPS 95 mm Autoclavable |  | Set 2, Instruments/ Diagnostics | XSINMEDI078209 | Splitterzange 95mm Autoklavierbar
|  | 1 | pcs | HEMOSTAT (ARTERY FORCEPS), sterile, single use |  | Set 2, Instruments/ Diagnostics | MSINFOHEBI18C | Arterienklemme, Einweg
|  | 1 | pcs | HEMOSTAT (ARTERY FORCEPS), Autoclavable |  | Set 2, Instruments/ Diagnostics | XSINMEDI157214 | Arterienklemme, autoklavierbar
|  | 1 | pcs | Anatomic forceps, 145mm |  | Set 2, Instruments/ Diagnostics | XSINMEDI061684 | Anatomische Pinzette 145mm
|  | 1 | pcs | Bandage scissors, Lister, 145mm |  | Set 2, Instruments/ Diagnostics | XSINMEDI402518 | Verbandschere Lister 145mm
|  | 1 | pcs | Stop watch timer |  | Set 2, Instruments/ Diagnostics |  | Stoppuhr
|  | 1 | pcs | Robin scissors (heavy duty trauma shears) 23cm |  | Set 2, Instruments/ Diagnostics |  | Rettungsschere/Kleiderschere 23cm
|  | 1 | pcs | Diagnostic / pen light, LED 3 V, 5300 Kelvin, Max 40,000 lux |  | Set 2, Instruments/ Diagnostics | EELELATOPOPE | Diagnostikleuchte 5300 Kelvin
|  | 1 | pcs | Ear thermometer, Digital, changable probe covers |  | Set 2, Instruments/ Diagnostics |  | Ohrthermometer mit Schutzkappen
|  | 1 | pack | Probe covers, digital ear thermometer, 40 pcs/pack |  | Set 2, Instruments/ Diagnostics |  | Ohrthermometer Schutzkappen
|  | 1 | pcs | Finger Pulse oximeter adult |  | Set 2, Instruments/ Diagnostics | XANEOXYMFOII | Pulsoximeter Finger
|  | 1 | pcs | Sphygmomanometer, aneroid, with adult/child cuff |  | Set 2, Instruments/ Diagnostics | XMEQSPHYRIA | Manuelles Blutdruckmessgerät
|  | 1 | pcs | Stethoscope, binaural, double cup, adult/child |  | Set 2, Instruments/ Diagnostics | XMEQSTETD | Stethoskop Doppelkopf
|  | 1 | pcs | Glucometer |  | Set 2, Instruments/ Diagnostics | XLABGLMTOM | Blutzuckermessgerät
|  | 10 | pcs | Test Strips for Bloodsugar monitor |  | Set 2, Instruments/ Diagnostics | XLABGLMTOMS | Teststreifen für Blutzuckermessgerät
|  | 5 | pcs | Safety Lancetts, 28G |  | Set 2, Instruments/ Diagnostics | XLABGLMTTOM2 | Sicherheitslanzetten 28G
|  | 1 | pcs | Scalpel handle, no. 3 |  | Set 2, Instruments/ Diagnostics | XSINMEDI012703 | Skalpel Griff Größe 3
|  | 1 | pcs | Scalpel blade, Size 10, w. belly |  | Set 2, Instruments/ Diagnostics | MMREBLADS10 | Skalpel Klinge größe 10 bauchig
|  | 1 | pcs | Swab, 4x5cm, cellulose |  | Set 2, Instruments/ Diagnostics | MDRECOTWSWS | Zellstofftupfer 4x5cm
|  | 3 | pcs | CUFF SYRINGE |  | Set 3 Intubation |  | Blockerspritze für Endo-und Trachealtuben inkl. Druckmessung
|  | 1 | pcs | Dual-tube laryngeal mask airway (LMA) size 2.5 |  | Set 3 Intubation |  | Larynxmaske Größe 2.5
|  | 1 | pcs | Dual-tube laryngeal mask airway (LMA) size 4 |  | Set 3 Intubation |  | Larynxmaske Größe 2.5
|  | 1 | pcs | LARYNGAL TUBE, 155-180CM,4 |  | Set 3 Intubation |  | Larynxtubus, 155-180cm
|  | 1 | pcs | LARYNGAL TUBE, 125-150CM,2,5 |  | Set 3 Intubation |  | Larynxtubus, 125-155cm
|  | 1 | pcs | LARYNGAL TUBE, 5-12 KG,No 1 |  | Set 3 Intubation |  | Larynxtubus, 5-12kg
|  | 1 | pcs | FORCEPS, CATH. INTRODUCING, MAGILL, 24cm, adult |  | Set 3 Intubation | XSINMEDI457503 | Magillzange für Erwachene
|  | 1 | pcs | FORCEPS, CATH. INTRODUCING, MAGILL, 16cm, child extra small |  | Set 3 Intubation | XSINMEDI457501 | Magillzange für Kinder
|  | 1 | pcs | Surgical tape, tissue, 25mm x 5m |  | Set 3 Intubation | MDRETADSP02 | Medizinisch- Chirurgisches Klebeband 25mm x 5m
|  | 2 | pcs | TONGUE DEPRESSOR, wood |  | Set 3 Intubation | MMRETODEW | Mundspatel Holz
|  | 1 | pcs | SUCTION UNIT, hand operated, 600 ml |  | Set 3 Intubation |  | Absauggerät (DIN ISO 10079-2 Tragbar, Vakuum)
|  | 1 | pcs | TUBE, SUCTION, CH 10, 53 cm, straight, sterile, disposable |  | Set 3 Intubation | MCTDTSUC10 | Einmal-Absaugkatheter mit Endöffnung, Steril, CH12
|  | 1 | pcs | TUBE, SUCTION, CH 18, 53 cm, straight, sterile, disposable |  | Set 3 Intubation | MCTDTSUC18 | Einmal-Absaugkatheter mit Endöffnung, Steril, CH18
|  | 1 | pcs | Yankauer, Suction tube, 8mm outside diameter |  | Set 3 Intubation |  | Yankauer Absaugkatheter, 8mm Außendurchmesser
|  | 1 | pcs | MUCUS EXTRACTOR, for newborn, CH 10, with HIV filter |  | Set 3 Intubation | MCTDMUEX10 | Baby Schleimabsauger
|  | 3 | pcs | Bandage, elastic, adhesive, woven, 6 cm x 2.5 m, non-sterile, single use |  | Set 4 Infusion | MDREBANDEA06 | Fixierbinde 6cm x 2.5, nicht steril
|  | 2 | pcs | SAFETY, IV CANNULA, G 14, 2,2 x 50 mm, teflon, with inj. site, orange |  | Set 4 Infusion | MINSIVCA14 | Veneverweilkanüle G14, 2,2x50mm
|  | 3 | pcs | SAFETY, IV CANNULA, G 18, 1.3 x 45 mm, teflon, with inj. site, green |  | Set 4 Infusion | MINSIVCA18 | Veneverweilkanüle G18, 1,3x45mm
|  | 3 | pcs | SAFETYIV CANNULA, G 16, 2.0 x 50 mm, teflon, with inj. site, grey |  | Set 4 Infusion | MINSIVCA16 | Veneverweilkanüle G16, 2.0x50mm
|  | 3 | pcs | SAFETY,IV CANNULA, G 20, 1.1 x 33 mm, teflon, with inj. site, pink |  | Set 4 Infusion | MINSIVCA20 | Veneverweilkanüle G20 1.1x33mm
|  | 2 | pcs | SAFETYIV CANNULA, G 22, 0.9 x 25 mm, teflon, with inj. site, blue |  | Set 4 Infusion | MINSIVCA22 | Veneverweilkanüle G22, 0.9x25mm
|  | 2 | pcs | SAFETY, IV CANNULA, G 24, 0.7 x 19 mm, teflon, with inj. site, yellow |  | Set 4 Infusion | MINSIVCA24 | Veneverweilkanüle G24 0.7x19mm
|  | 10 | pcs | IV CANNULA FIXATION, Plaster |  | Set 4 Infusion |  | Fixierpflaster für Venenverweilkanülen
|  | 2 | pcs | INFUSION SET, min. 150cm, with air intake, inj. site, no needle |  | Set 4 Infusion | MINSINFS1 | Infusionsgerät nach (DIN58362-1)
|  | 1 | pcs | TOURNIQUET, COTTON, 42x2.4cm, elastic, with buckle |  | Set 4 Infusion | XMEQTOURCOB | Staubinde elastisch (Venenstauer)
|  | 1 | pcs | SAFETY DISPOSAL BOX,CANNULA/ NEEDLE |  | Set 4 Infusion | MINSCNTR5C | Kanülensammelbox
|  | 2 | pcs | SALINE, IV-Solution, 500ml |  | Set 4 Infusion | DINFSODC905 | Infusionslösung NaCl 0,9
|  | 2 | pcs | Ringer Lactate, IV-Solution, 500ml bag |  | Set 4 Infusion | DINFRINL05 | Infusionslösung Ringer-Laktat
|  | 1 | pcs | Pressure bag IV infusion |  | Set 4 Infusion | XMEQTRANCP05 | Druckinfusionsmanschette für 500ml Beutel
|  | 10 | pcs | Povidone iodine solution 50-100ml |  | Set 4 Infusion |  | Povidone Jod Lösung 10% 50-100ml
|  | 10 | pcs | Stopper for syringes |  | Set 4 Infusion | MINSSTOP1 | Verschlusskonen für Spritzen und Venenverweilkanülen
|  | 10 | pcs | ORAL REHYDRATION SALTS (O.R.S.), sachet 20.5 g/1 L |  | Set 4 Infusion | DORAORSA2S | ORS, Orales Rehydratationssalze in kleiner verpackung
|  | 5 | pcs | Safety Cannula, hypodermic needle 23G, Luer |  | Set 5 Injection |  | Hypodermische Sicherheitskanüle 23G mit Luer verschluss
|  | 10 | pcs | NEEDLE, HYPODERMIC, G 21, 0.8 x 40 mm, green, IM/IV |  | Set 5 Injection | MINSNEEDH21 | Kanüle G21 0.8x40mm
|  | 5 | pcs | NEEDLE, HYPODERMIC, G 24, 0.55 x 25 mm, purple, SC |  | Set 5 Injection | MINSNEEDH24 | Kanüle G24 0.55x25mm
|  | 5 | pcs | Butterfly Needle, 23g, Luer |  | Set 5 Injection |  | Butterfly Flügel Kanüle 23G, Luer
|  | 5 | pcs | Syringes, disposable, 10ml, w. Luer Lok |  | Set 5 Injection |  | Spritze 10ml
|  | 5 | pcs | Syringes, disposable, 2ml, w. Luer Lok |  | Set 5 Injection |  | Spritze 2ml
|  | 5 | pcs | Syringes, disposable, 5ml, w. Luer Lok |  | Set 5 Injection |  | Spritze 5ml
|  | 10 | pcs | Sodium Chloride 0.9% solution, 10ml |  | Set 5 Injection |  | Injektionslösung NaCl 0.9% 10ml
|  | 1 | pcs | zinc oxyde tape , roll, 2,50 cm x 5m |  | Set 6 Wound dressing | MDRETADSZ02 | Zinkoxid-Klebeband
|  | 3 | pcs | Adhesive Skin Closures Steri Strip 1/4 inch x 4 inch (6mm x 100mm), envelopes |  | Set 6 Wound dressing |  | Wunderverschlussstreifen/Klammerpflaster
|  | 2 | pcs | Bandage, elastic, adhesive, woven, 10 cm x 2.5 m, non-sterile, single use |  | Set 6 Wound dressing | MDREBANDEA10 | Fixierbinde
|  | 10 | pcs | Compress, gauze, With parrafin, 10X10 cm, streril, single use |  | Set 6 Wound dressing | MDRECOMPP10 | Kompresse steril mit paraffin 10x10cm
|  | 1 | pack | Compress, gauze, 10 x 10 cm, 8 to 12 ply, non-sterile, single use, pack 100 |  | Set 6 Wound dressing | MDRECOMPG10N | Kompresse nicht steril 10x10cm
|  | 10 | pack | Compress, gauze, 10 x 20 cm, 8 to 12 ply, sterile, single use, pack of 2 |  | Set 6 Wound dressing | MDRECOMPG20 | Kompresse steril 10x20cm in zweier Pack
|  | 1 | pack | GLOVE, SURGICAL, S, non-sterile, nitril, blue |  | Set 6 Wound dressing | MMREGLOVES | Handschuhe nitril, nicht-steril M
|  | 1 | pack | GLOVE, SURGICAL, M, non-sterile, nitril, blue |  | Set 6 Wound dressing | MMREGLOVEM | Handschuhe nitril, nicht-steril M
|  | 1 | pack | GLOVE, SURGICAL, L, non-sterile, nitril, blue |  | Set 6 Wound dressing | MMREGLOVEL | Handschuhe nitril, nicht-steril L
|  | 4 | pcs | Bandage, Extensive, non-adhesive, 6-7 cm x 4 m |  | Set 6 Wound dressing | MDREBANDG06 | Mullbinde 6-7cm x 4m
|  | 1 | pcs | Bandage, Crepe (Velpeau), 10 cm x 4 m |  | Set 6 Wound dressing |  | Crepe (Velpeau) Verband
|  | 10 | pcs | COMPRESS, GAUZE, 10 x 10 cm, 8 plys, 17 thr., ster., 2 pcs |  | Set 6 Wound dressing | MDRECOMPG10 | Kompresse (100+5mm X 100+5mm)
|  | 5 | pcs | FIXING BANDAGE (5m x 10cm) |  | Set 6 Wound dressing | MDREBANDA05 | Fixierbinde (DIN 61634- FB8)
|  | 2 | pcs | BANDAGE PACKET (DIN 13151M) |  | Set 6 Wound dressing |  | Verbandpäckchen (DIN 13151M)
|  | 2 | pcs | BANDAGE cloth (136 x 96 cm) |  | Set 6 Wound dressing | MDREBTRI136 | Dreiecksverbandtuch 136x96cm)
|  | 2 | pcs | BANDAGE cloth (40 x 60 cm) |  | Set 6 Wound dressing |  | Verbandtuch (DIN13152-BR)
|  | 1 | pcs | HAND DISINFECTANT, bottle, 100ml |  | Set 6 Wound dressing |  | Hände- Desinfektionslösung, 100ml
|  | 1 | pcs | Hemostatic dressing ( WoundClot, Trauma Gauze) 5" x 9" |  | Set 6 Wound dressing |  | Hämostatische Kompresse
|  | 2 | pcs | SPLINT, MALLEABLE, 11x91cm, arm/leg, roll |  | Set 6 Wound dressing | XSEQSPLIMA11 | Schiene, formbar, 11 x 91 cm, Rolle
|  | 10 | pcs | Mask, surgical, flat rectangular, non-sterile, single use |  | Set 7 Equipment | MMREMASKSD1 | OP-Maske, nicht steril
|  | 2 | pcs | Glasses, safety, for surgical procedures |  | Set 7 Equipment | APROGOOGPL | Sicherheitsbrille
|  | 1 | pcs | Marker, permanent, small tip |  | Set 7 Equipment | ASTAPENSMMBK | Permanentmarker, schmal, schwarz
|  | 1 | pcs | Pelvic stabilisation belt |  | Set 7 Equipment |  | Gerät zur nicht-invasiven externen Beckenstabilisierung
|  | 1 | pcs | Foldable soft stretcher |  | Set 7 Equipment |  | Tragetuch
|  | 20 | pcs | Patient identification bracelets adults , write on type |  | Set 7 Equipment | MMREBRAI1 | Patientenarmband, beschriftbar
|  | 1 | pcs | RESCUE SHEET, silver/gold insulating foil, 210 cm x 160 cm |  | Set 7 Equipment | HSHEBLANRSH1 | Rettungsdecke (2100mmx1600mm,12um)
|  | 1 | pcs | BAG, PE plastic, for garbage, 35L, grey, 0.06mm, 58x60cm |  | Set 7 Equipment | APACBAGP35 | Mülltüte, 35L, PE plastik
|  | 1 | pcs | Haemostatic Gauze, Z-Fold, wound packing |  | Set 8 Bleeding |  | hämostatische Gauze, Z-Fold, Wundstopfen
|  | 2 | pcs | Hemostatic tourniquet SOFT TACTICAL Tourniquet 1.5in. Rescue Orange |  | Set 8 Bleeding |  | Extremitäten Tourniquet
|  | 1 | pcs | Chest Seal, Vented |  | Set 8 Bleeding |  | Thoraxpflaster, ventiliert
|  | 1 | pcs | Chest Seal, non-Vented |  | Set 8 Bleeding |  | Thoraxpflaster, nicht-ventiliert
|  | 2 | pcs | Trauma Bandage, Pressure, gauze pad+ elastic band.+ plastic pressure bar, sterile |  | Set 8 Bleeding |  | Notfalldruckverband (Trauma Bandage)
|  | 2 | pcs | Chest decompression needle |  | Set 8 Bleeding |  | Thoraxdekompressions Nadeln
|  | 1 | each | BACKPACK, min. 70L, w. reflector strip |  | Backpack & Organizers |  | Notfallrucksack 77L mit Reflektionsstreifen
|  | 1 | each | CONTAINER, accessoir, approx. L 18 x W 24 x H 10 cm |  | Backpack & Organizers |  | Modultasche ca. L 18 x W 24 x H 10 cm
|  | 2 | each | CONTAINER, accessoir, approx. L 36 x W 25 x H 10 cm |  | Backpack & Organizers |  | Modultasche ca. L 36 x W 25 x H 10 cm
|  | 1 | each | CONTAINER, accessoir, approx. L 18 x W 13 x H 10 cm |  | Backpack & Organizers |  | Modultasche ca. L 18 x W 13 x H 10 cm
|  | 4 | each | CONTAINER, accessoir, approx. L 36 x W 13 x H 5 cm |  | Backpack & Organizers |  | Modultasche ca. L 36 x W 13 x H 5 cm

## Tabelle1
PREB_05_01 | PREB Airway BLS
PREB_05_02 | PREB Diagnostics BLS
PREB_05_03 | PREB Intubation BLS
PREB_05_04 | PREB Infusion BLS
PREB_05_05 | PREB Injection BLS
PREB_05_06 | PREB Wound dressing BLS
PREB_05_07 | PREB Equipment BLS
PREB_05_08 | PREB Bleeding BLS